Ariza Water Detector Alarm

FEATURES:

- detect conductive liquid, such as water leakage, water level, standing water.

- Turn the power switch to ON to start up and OFF to shut down.

- When the probe contact contacts the conductive liquid, the host will send an 130db alarm

- short press the SET key to tick tick tick, corresponding to the alarm sound 10 seconds, 20 seconds, 30 seconds.

DAIS:

Device:

{

"_id": "10ca2000",

"deviceTypeId": "ezlopi",

"parentDeviceId": "",

"category": "security_sensor",

"subcategory": "leak",

"gatewayId": "457a5069",

"batteryPowered": false,

"name": "ArizaWater Alarm",

"type": "sensor",

"reachable": true,

"persistent": false,

"serviceNotification": false,

"armed": false,

"roomId": "",

"security": "no",

"ready": true,

"status": "idle",

"parentRoom": true,

"protectConfig": "default"

}

Items:

{

"_id": "20ca2000",

"deviceId": "10ca2000",

"hasGetter": true,

"hasSetter": false,

"name": "water_leak_alarm",

"show": true,

"valueType": "token",

"enum": [

"no_water_leak",

"water_leak_detected",

"unknown"

],

"valueFormatted": "no_water_leak",

"value": "no_water_leak",

"status": "idle"

},

{

"_id": "20ca2001",

"deviceId": "10ca2000",

"hasGetter": true,

"hasSetter": false,

"name": "battery",

"show": true,

"valueType": "int",

"scale": "percent",

"value": 65,

"valueFormatted": "65",

"status": "idle"

}

]

PICTURES:

Device Inside View

Device PCB